## Lab and Digester Report Data
Lab and Digester Report Data Daily 2/1/2024 - 4/11/2024 | RAWINF 00010 TEMP CELSIUS | RAWINF 00403 PH S.U. | RAWINF 00310 BOD MG/L | RAWINF 80082 CBOD MG/L | RAWINF 00335 COD MG/L | RAWINF INF COD LOADINGS LBS | RAWINF 00530 TSS MG/L | RAWINF 00535 TVSS MG/L | RAWINF 00610 NH3 N AMMONIA MG/L | RAWINF 00625 TKN MG/L | RAWINF 00410 ALK TOT CACO3 MG/L | RAWINF Total Phosphorous as Po4 MG/L | RAWINF Ortho as Po4 MG/L | RAWINF Organic Phosph MG/L | Grit Pr GRT TVS % | P Clr EF 00403 PH S.U. | P Clr EF 00310 BOD MG/L | P Clr EF 80082 CBOD MG/L | P Clr EF 00410 ALK TOT CACO3 MG/L | P Clr EF 00335 COD MG/L | P Clr EF 00530 TSS MG/L | P Clr EF 00535 TVSS MG/L | P Clr EF 00610 NH3 N AMMONIA MG/L | P Clr EF 00625 TKN MG/L | P CLRSLG 50050 WASTE FLOW MGD | P CLRSLG 70318 TS % | P CLRSLG 70322 % TVS | PCLRSLGW 50050 FLOW MGD MGD Daily | PCLRSLGE 50050 FLOW MGD MGD Daily | P CLRSLG TVS LBS FORMULA | AB 00530 TSS MG/L | AB 00535 TVSS MG/L | S Aer Sm ~MCRT MCRT Day | AB EFF 00337 COD MG/L | AB EFF 00610 NH3 N AMMONIA MG/L | RAS 00530 TSS MG/L | RAS 00535 TVSS MG/L | WAS 00530 TSS MG/L | DAF1 70318N NORTH TS % | DAF1 70318S SOUTH TS % | DAF1,3 70318 AVG TS % | DAF1 70322 AVG TVS % | DAF 3 70318 TS % | DAF 3 70322 TVSS % | DAF 3 00530 TSS UNDER FLOW MG/L | DAF 3 00535 TVSS UNDER FLOW MG/L | Compost Sludge Cake % TS | DAF1 WST 50050 FLOW MGD MGD Daily | DAF1 EST 50050 FLOW MGD MGD Daily | DAF1 00625 TKN MG/L | DAF1 LBS INTO DAF | DAF1 00530 TSS UNDER- FLOW MG/L | DAF1 00535 TVSS UNDER- FLOW MG/L | FILTER INF 00530 TSS MG/L | FILTER INF 00535 TVSS MG/L | EFF 00010 TEMP CELSIUS | EFF 00400 PH S.U. 6.6-9.0 | EFF 00300 DISS O2 MG/L At Peak Flow | EFF 00310 5 DAY BOD MG/L | EFF 80082 5 DAY CBOD 10-30D-Avg 15-7D-Avg MG/L | EFF 00335 COD MG/L | EFF 00515 TDS MG/L | EFF 00530 TSS 30-30D-Avg 45-7D-Avg MG/L | EFF 00535 TVSS MG/L | EFF 00620 AMMONIA NH3 N/MG/L Report-Max 2-30D-Avg | EFF 00630 NO2 & NO3 MG/L Report-Max 3-30D-Avg | EFF 00625 TKN MG/L | EFF Ortho as Po4 MG/L | EFF Organic Phosph MG/L | EFF Total Phosphorous as Po4 MG/L | EFF Total Phosphorus as P MG/L | EFF 00600 NITROGEN N TOT MG/L | EFF 00940 CHLORIDE MG/L | EFF 50060 CL2 RESIDUAL UG/L 11-D-Max | EFF 74055 Fecal Coliform 100-30D-Avg 200-D-Max Permit Col./100 ml | EFF 51040 E. coli Bac 126-30D-Avg 410-D-Max CFU/100 ml | EFF 00410 ALK CaCO3 TOT MG/L | EFF Cyanide Cn Tot UG/L | EFF Copper Cu Tot UG/L | EFF Heptachlor UG/L | DIG 00403 PH S.U. BOILER H2O | DIG 00615 NITRITE MG/L BOILER H2O | DIG 000004 Digester GAS scf | WWMD NatGas Natural Gas SCF Daily | WSTDIG 00010 TEMP CELSIUS | WSTDIG 00403 PH S.U. | WSTDIG 00410 ALK TOT CACO3 MG/L | WSTDIG 00530 TSS MG/L | WSTDIG 00535 TVSS MG/L | WSTDIG 00700 VOL ACIDS MG/L | WSTDIG 50050 TOTAL (PRI & SEC) MGD | WSTDIG VA/ALK RATIO number | WSTDIG SRT days | WSTEFF 00530 TSS MG/L | WSTEFF 00535 TVSS MG/L | WSTINF WEST DIG LBS VS IN | WSTEFF WEST DIG LBS VS OUT | WSTEFF WEST DIG VOL SOL % REDUCTION | ESTDIG 00010 TEMP CELSIUS | ESTDIG 00403 PH S.U. | ESTDIG 00410 ALK TOT CACO3 MG/L | ESTDIG 00530 TSS MG/L | ESTDIG 00535 TVSS MG/L | ESTDIG 00700 VOL ACIDS MG/L | ESTDIG 50050 TOTAL (PRI & SEC) MGD | ESTDIG VA/ALK RATIO number | ESTDIG SRT days | ESTEFF 00530 TSS MG/L | ESTEFF 00535 TVSS MG/L | EST INF EAST DIG LBS VS IN | ESTEFF EAST DIG LBS VS OUT | ESTEFF EAST DIG VOL SOL % REDUCTION | WEATHR T99000 Max Air Temp DEG F | WEATHR T99005 Min Air Temp DEG F | WEATHR 00045 PRECIP TOT DAY IN Inches/Day | Santa Fe Waste Water INFLUENT Total P MG/L
2/1/2024 | 15.2 | 7.66 | [22 empty] | 0.015798 |  |  | 0.008 | 0.007899 |  | 3190 | 2510 |  |  | 14.42 | 4820 | 3800 | 4820 | [9 empty] | 0.031178 | 0 |  | 14539.8255624 |  |  |  |  | 15 | 7.36 | 7.6 |  | 3.92 |  |  | 11.2 | 9 | 13.86 | 0.32 |  | 1.06 | [7 empty] | 1086 |  | 0 | 3 | 0 |  |  | 0 | 0 | [6 empty] | 0.039178 |  | 14.5159783551993 | [11 empty] | 0.026564 |  | 21.4089369070923
2/2/2024 | 15.1 | 7.8 | [22 empty] | 0.01634 | 7.2 | 6.4 | 0.008 | 0.008 | 8721.6384 | [8 empty] | 4 | 4.7 | 4.35 | 3.4 | [5 empty] | 0.033973 | 0 |  |  | 27 | 24 |  |  | 15.1 | 7.48 | 8.1 |  | 3.77 |  |  | 8.3 | 7 | [11 empty] | 106 |  | 0 | 3.2 | 0 |  |  | 0 | 0 | 36.7 | 7.31 |  | 21150 | 18120 |  | 0.041973 |  | 13.5493531556 | 26320 | 18900 | 13903.46388 | 6616.036098 | 52.4144763125029 | 36.7 | 7.15 |  | 23800 | 16820 |  | 0.029364 |  | 19.3674908050674 | 25280 | 18000 | 4270.08 | 1200.96 | 71.875
2/3/2024 | 15 | 7.89 |  |  |  |  | 293 | 273 | [12 empty] | 164 | 150 |  |  | 0.018049 |  |  | 0.009 | 0.009024 | [18 empty] | 0.036406 | 0 | [6 empty] | 14.8 | 7.49 | 8.3 |  | 2.55 |  |  | 5.7 | 5 | [9 empty] | 0 |  | 420 |  | 0 | 3.8 | 0 |  |  | 0 | 0 | [6 empty] | 0.045406 |  | 12.5249306259085 | [11 empty] | 0.029368 |  | 19.3648529011169
2/4/2024 | 14.7 | 7.95 | [22 empty] | 0.016071 |  |  | 0.008 | 0.008435 | [18 empty] | 0.036987 | 0 | [6 empty] | 14.4 | 7.48 | 7.9 |  | 5.13 |  |  | 19.8 | 15.7 | [9 empty] | 0 |  |  |  | 0 | 3.2 | 0 |  |  | 0 | 0 | [6 empty] | 0.044987 |  | 12.641585346878 | [11 empty] | 0.025684 |  | 22.142462233297
2/5/2024 | 14.3 | 7.86 | [22 empty] | 0.01886 | 6.3 | 5.6 | 0.009 | 0.00943 | 8808.3744 | [8 empty] | 3.6 | 4.2 | 3.9 | 3.1 | [5 empty] | 0.036267 | 0 |  |  | 81 | 68 |  |  | 14.5 | 7.42 | 7.7 |  | 5.23 |  |  | 25 | 21 | 16.93 | 0.31 |  | 1.33 | [5 empty] | 0 |  | 64 |  | 0 | 3.9 | 0 |  |  | 0 | 0 | 36.6 | 7.07 |  | 23520 | 16500 |  | 0.045267 |  | 12.5633905494069 | 24800 | 17820 | 13579.83018 | 6727.5272196 | 50.4594156890996 | 36.6 | 7.12 |  | 21220 | 14620 |  | 0.028544 |  | 19.9238719170404 | 24220 | 17480 | 4404.1872 | 1374.735576 | 68.7857142857143
2/6/2024 | 14.6 | 7.42 | 426 | 368 | 1011 | 39367.79406 | 291 | 264 | 41.4 | 66.8 | 250 | 27.6 | 14.4 | 13.2 |  |  | 309 | 280 | 240 | 701 | 162 | 145 | 40.9 | 64 | 0.017329 |  |  | 0.009 | 0.008664 |  | 3030 | 2400 |  |  | 12.04 | 4070 | 3270 | 4070 | [9 empty] | 0.030162 | 0 |  | 12523.055853 |  |  |  |  | 15 | 7.26 | 7.8 |  | 2.78 | 36 |  | 9.8 | 8.6 | 12.46 | 0.52 | 15.61 | 0.79 | 1.49 | 2.28 | 0.743639921722113 | 16.13 |  | 0 |  | 43 | 150 | 0 | 3.1 | 0 |  |  | 0 | 0 | [6 empty] | 0.039162 |  | 14.521908993412 | [11 empty] | 0.024624 |  | 23.0956384015595
2/7/2024 | 15 | 7.38 | [12 empty] | 75 | 7.03 | [8 empty] | 0.01736 | 6.3 | 5.6 | 0.009 | 0.00868 | 8107.8144 | 3460 | 2730 |  | 3950 | 10.64 | 5070 | 3920 | 5070 | 4.2 | 4.2 | 4.2 | 3.3 | [5 empty] | 0.026866 | 0 |  | 15382.635021 | 460 | 390 | 20.7 | 17.7 | 15.1 | 7.35 | 8 |  | 4.67 |  |  | 24.5 | 20.5 | 10.64 | 0.46 |  | 1.07 | [5 empty] | 0 |  | 53 |  | 0 | 2.8 | 0 |  |  | 0 | 0 | 36.6 | 7.03 |  | 22020 | 15570 |  | 0.035866 |  | 15.8564378520047 | 23970 | 17370 | 11597.42052 | 5195.7567828 | 55.1990309065727 | 36.6 | 7.01 |  | 23720 | 16870 |  | 0.02496 |  | 22.7847355769231 | 23400 | 16800 | 4053.9072 | 1216.17216 | 70
2/8/2024 | 14.9 | 7.49 | [22 empty] | 0.01659 |  |  | 0.008 | 0.008295 |  | 3520 | 2760 |  |  | 8.82 | 5070 | 4000 | 5070 | [9 empty] | 0.028979 | 0 |  | 16085.9414664 |  |  |  |  | 14.9 | 7.29 | 7.6 |  | 3.02 |  |  | 7.5 | 6.6 | 7.42 | 0.41 |  | 1.23 | [5 empty] | 0 |  | 30 |  | 0 | 2.8 | 0 |  |  | 0 | 0 | [6 empty] | 0.036979 |  | 15.3791881878904 | [11 empty] | 0.025256 |  | 22.51769876465
2/9/2024 | 14.7 | 7.74 | [22 empty] | 0.016831 | 6 | 5.4 | 0.008 | 0.008415 | 7580.00916 | [8 empty] | 4.6 | 4.9 | 4.75 | 3.5 | [5 empty] | 0.034085 | 0 |  |  | 260 | 213.3 |  |  | 14.6 | 7.35 | 8 |  | 2.25 |  |  | 4.6 | 4.2 | [9 empty] | 0 |  | 133 |  | 0 | 2.6 | 0 |  |  | 0 | 0 | 36.7 | 7.28 |  | 22750 | 16180 |  | 0.042085 |  | 13.5132945229892 | 23600 | 16900 | 13552.2915 | 5931.71241 | 56.2309266296405 | 36.7 | 7.18 |  | 23920 | 17120 |  | 0.02516 |  | 22.6036168521463 | 26480 | 19200 | 3789.7794 | 1347.47712 | 64.4444444444444
2/10/2024 | 14.6 | 7.97 |  |  |  |  | 337 | 307 | [12 empty] | 158 | 144 |  |  | 0.01661 |  |  | 0.008 | 0.008305 | [18 empty] | 0.033644 | 0 | [6 empty] | 14.6 | 7.33 | 7.8 |  | 4.39 |  |  | 19.3 | 15.9 | [9 empty] | 0 |  |  |  | 0 | 2.3 | 0 |  |  | 0 | 0 | [6 empty] | 0.041644 |  | 13.6563970800115 | [11 empty] | 0.028308 |  | 20.0899745654939
2/11/2024 | 14 | 7.99 | [22 empty] | 0.017119 |  |  | 0.009 | 0.008559 | [18 empty] | 0.029967 | 0 | [6 empty] | 14.1 | 7.39 | 8.1 |  | 3.45 |  |  | 17.8 | 15.4 | [9 empty] | 0 |  | 19 |  | 0 | 5 | 0 |  |  | 0 | 0 | [6 empty] | 0.038967 |  | 14.5945800292555 | [11 empty] | 0.021608 |  | 26.3192798963347
2/12/2024 | 13.6 | 7.61 | [22 empty] | 0.015961 | 7 | 6.3 | 0.008 | 0.00798 | 8386.22862 | [8 empty] | 3.8 | 4 | 3.9 | 3 | [5 empty] | 0.040991 | 0 |  |  | 313.3 | 253.3 |  |  | 14.3 | 7.28 | 7.6 |  | 3.58 |  |  | 17.1 | 15 | 1.12 | 0.41 |  | 1.31 | [5 empty] | 0 |  | 20 |  | 0 | 2.9 | 0 |  |  | 0 | 0 | 36.6 | 6.92 |  | 25900 | 18620 |  | 0.048991 |  | 11.6083974607581 | 24100 | 17380 | 14459.3082 | 7101.2062572 | 50.8883401683076 | 36.6 | 7.23 |  | 19480 | 13380 |  | 0.028308 |  | 20.0899745654939 | 23550 | 16750 | 4192.8516 | 1114.7661 | 73.4126984126984
2/13/2024 | 14.4 | 7.67 | 392 | 448 |  |  | 407 | 363 | 42.3 | 69.2 |  | 22.4 | 15.2 | 7.2 |  |  | 281 | 282 |  |  | 145 | 132 | 41.4 | 67.2 | 0.01901 |  |  | 0.01 | 0.009505 |  | 3250 | 2600 |  |  | 0.28 | 4730 | 3800 | 4730 | [9 empty] | 0.043289 | 0 |  | 14774.1004158 |  |  |  |  | 14.5 | 7.26 | 7.8 |  | 5.62 |  |  | 31.9 | 27.8 | 1.29 | 0.33 | 4.79 | 1.18 | 3.92 | 5.1 | 1.66340508806262 | 5.12 |  | 0 |  | 41 |  | 0 | 3.1 | 0 |  |  | 0 | 0 | [6 empty] | 0.053289 |  | 10.6721274559478 | [11 empty] | 0.031492 |  | 18.0587768322114
2/14/2024 | 14.4 | 7.51 | [12 empty] | 65 | 6.85 | [8 empty] | 0.01627 | 6.5 | 5.9 | 0.008 | 0.008135 | 8005.8162 | 3300 | 2620 |  |  | 0.98 | 5970 | 4770 | 5970 | 4 | 3.9 | 3.95 | 3.1 | [5 empty] | 0.041031 | 0 |  | 18434.5738704 | 31 | 26 | 6.3 | 5.7 | 14.8 | 7.25 | 8.5 |  | 4.95 |  |  | 30.3 | 25 | 1.54 | 0.28 |  | 1.22 | [5 empty] | 0 |  | 31 |  | 0 | 3.7 | 0 |  |  | 0 | 0 | 36.7 | 6.94 |  | 18720 | 13000 |  | 0.049031 |  | 11.5989272093166 | 23900 | 17200 | 14544.63474 | 7033.398888 | 51.6426571465761 | 36.7 | 6.93 |  | 25950 | 18800 |  | 0.029096 |  | 19.5458825955458 | 23650 | 16950 | 4002.9081 | 1149.988005 | 71.271186440678
2/15/2024 | 14.9 | 7.48 | [22 empty] | 0.017199 |  |  | 0.009 | 0.008599 |  | 3400 | 2700 |  |  | 1.96 | 4000 | 3170 | 4000 | [9 empty] | 0.04447 | 0 |  | 12269.90808 |  |  |  |  | 15 | 7.25 | 8.1 |  | 2.61 |  |  | 9.7 | 8.7 | 0.95 | 0.2 |  | 1.31 | [5 empty] | 0 |  | 7 |  | 0 | 2.5 | 0 |  |  | 0 | 0 | [6 empty] | 0.05347 |  | 10.6360014961661 | [11 empty] | 0.038056 |  | 14.9439510195501
2/16/2024 | 15 | 7.52 | [22 empty] | 0.015581 | 6.6 | 6 | 0.008 | 0.00779 | 7796.7324 | [8 empty] | 4 | 4.4 | 4.2 | 3.2 | [5 empty] | 0.034603 | 0 |  |  | 32 | 30 |  |  | 15 | 7.25 | 8.2 |  | 3.99 |  |  | 16.6 | 14.4 | [9 empty] | 0 |  | 73 |  | 0 | 3.9 | 0 |  |  | 0 | 0 | 36.7 | 7.16 |  | 22020 | 15400 |  | 0.042603 |  | 13.3489895077811 | 24520 | 17750 | 13238.04864 | 6306.735105 | 52.359027553777 | 36.7 | 6.96 |  | 21880 | 15300 |  | 0.031936 |  | 17.8077091683367 | 24250 | 17320 | 3898.116 | 1125.256152 | 71.1333333333333
2/17/2024 | 14.7 | 7.85 |  |  |  |  | 318 | 288 | [12 empty] | 220 | 195 |  |  | 0.016639 |  |  | 0.008319 | 0.008319 | [18 empty] | 0.024695 | 0 | [6 empty] | 14.7 | 7.26 | 7.9 |  | 7.81 |  |  | 52 | 42.5 | [9 empty] | 0 |  | 58 |  | 0 | 2.8 | 0 |  |  | 0 | 0 | [6 empty] | 0.033014 |  | 17.2262373538499 | [11 empty] | 0.022292 |  | 25.5117082361385
2/18/2024 | 15.3 | 7.93 | [22 empty] | 0.016977 |  |  | 0.008 | 0.008 | [18 empty] | 0.034675 | 0 | [6 empty] | 14.6 | 7.24 | 7.5 |  | 5.2 |  |  | 33.5 | 28 | [9 empty] | 0 |  | 22 |  | 0 | 3.1 | 0 |  |  | 0 | 0 | [6 empty] | 0.042675 |  | 13.326467486819 | [11 empty] | 0.027688 |  | 20.5398367523837
2/19/2024 | 15.1 | 7.71 | [22 empty] | 0.016544 | 6.3 | 5.6 | 0.008 | 0.008272 | 7726.70976 | [8 empty] | 3.9 | 3.9 | 3.9 | 3.1 | [6 empty] | 0 |  |  | 12 | 12 |  |  | 14.8 | 7.39 | 8.5 |  | 6.94 |  |  | 36.9 | 30.6 | 1.34 | 0.26 |  | 1.69 | [5 empty] | 0 |  | 46 |  | 0 | 3.7 | 0 |  |  | 0 | 0 | 36.6 | 7.08 |  | 22850 | 16150 |  |  |  |  | 25920 | 18400 | 3736.32 |  |  | 36.6 | 7.26 |  | 21180 | 14700 |  | 0.026584 |  | 21.3928302738489 | 24300 | 17450 | 3863.35488 | 1203.848976 | 68.8392857142857
2/20/2024 | 16 | 7.53 | 414 | 368 | 980 | 38242.4028 | 284 | 268 | 39.7 | 61.5 | 250 | 24.8 | 14.2 | 10.6 |  |  | 263 | 277 | 250 | 732 | 155 | 138 | 40.9 | 60.5 | 0.016544 | [5 empty] | 3330 | 2650 |  |  | 0.56 | 4720 | 3700 | 4720 | [10 empty] | 0 | [6 empty] | 15.7 | 7.22 | 7.9 |  | 11.23 | 111 |  | 68 | 57 | 1.01 | 0.34 | 6.61 | 1.63 | 9.17 | 10.8 | 3.52250489236791 | 6.95 |  | 0 |  | 340 | 120 | 0 | 3.5 | 0 |  |  | 0 | 0 | [20 empty] | 0.032392 |  | 17.5570202519141
2/21/2024 | 16 | 7.6 | [12 empty] | 53 | 6.9 | [8 empty] | 0.01479 | 6.5 | 5.8 | 0.007 | 0.007395 | 7154.2188 | 3440 | 2680 |  | 4560 | 2.24 | 5380 | 4220 | 5380 | 3.7 | 3.6 | 3.65 | 2.9 | [5 empty] | 0.033264 | 0 |  |  | 68.3 | 58.3 | 29.3 | 23.3 | 15.5 | 7.23 | 8 |  | 3.6 |  |  | 13.5 | 11.7 | 1.74 | 0.35 |  | 2.41 |  |  |  |  | 65 | 0 |  |  |  | 0 | 5.8 | 0 |  |  | 0 | 0 | 36.6 | 6.95 |  | 26300 | 18680 |  | 0.040264 |  | 14.1244536061991 | 24100 | 17480 | 11431.27104 | 5869.8147648 | 48.6512502042818 | 36.6 | 6.91 |  | 26600 | 18980 |  | 0.027628 |  | 20.5844433183727 | 22800 | 16250 | 3577.1094 | 1002.207375 | 71.9827586206897
2/22/2024 | 15.2 | 7.91 | [22 empty] | 0.01419 |  |  | 0.007 | 0.007 |  | 3560 | 2790 |  |  | 0.84 | 5530 | 4350 | 5530 | [9 empty] | 0.036295 | 0 |  | 17611.228971 |  |  |  |  | 15.2 | 7.54 | 8.2 |  | 4.56 |  |  | 18.7 | 15.7 | 3.22 | 0.2 |  | 2.36 | [5 empty] | 0 |  | 320 |  | 0 | 2.6 | 0 |  |  | 0 | 0 | [6 empty] | 0.043295 |  | 13.1356276706317 | [11 empty] | 0.02744 |  | 20.7254737609329
2/23/2024 | 15.1 | 7.6 | [22 empty] | 0.015119 | 6.6 | 5.9 | 0.008 | 0.007559 | 7439.45514 | [8 empty] | 4.1 | 4 | 4.05 | 3.2 | [5 empty] | 0.033346 | 0 |  |  | 142 | 122 |  |  | 15.2 | 7.27 | 7.7 |  | 10.63 |  |  | 63.3 | 60 | [9 empty] | 0 |  | 493 |  | 0 | 2.5 | 0 |  |  | 0 | 0 | 36.7 | 7.22 |  | 23000 | 14420 |  | 0.041346 |  | 13.7548251342331 | 24520 | 17550 | 12835.86048 | 6051.689982 | 52.8532583270958 | 36.7 | 7.23 |  | 24080 | 17250 |  | 0.030136 |  | 18.8713498805415 | 24380 | 17220 | 3719.48154 | 1085.5842732 | 70.8135593220339
2/24/2024 | 15.3 | 7.91 |  |  |  |  | 296 | 268 | [12 empty] | 139 | 122 |  |  | 0.015531 |  |  | 0.008 | 0.007765 | [18 empty] | 0.035531 | 0 | [6 empty] | 14.7 | 7.34 | 8.3 |  | 4.87 |  |  | 21.6 | 17.3 | [9 empty] | 0 |  | 283 |  | 0 | 2.9 | 0 |  |  | 0 | 0 | [6 empty] | 0.043531 |  | 13.0644138659806 | [11 empty] | 0.021396 |  | 26.5800616937745
2/25/2024 | 15.8 | 7.97 | [22 empty] | 0.015739 |  |  | 0.008 | 0.007869 | [18 empty] | 0.044183 | 0 | [6 empty] | 15.4 | 7.345 | 7.9 |  | 38.6 |  |  | 272 | 220 | [9 empty] | 0 |  | 673 |  | 12 | 3.8 | 0 |  |  | 0 | 0 | [6 empty] | 0.052183 |  | 10.898319376042 | [11 empty] | 0.03236 |  | 17.5743819530284
2/26/2024 | 15.6 | 7.84 | [22 empty] | 0.01568 | 6.1 | 5.5 | 0.008 | 0.00784 | 7192.416 | [8 empty] | 2.9 | 3.1 | 3 | 2.4 | [5 empty] | 0.046988 | 0 |  |  | 1130 | 950 |  |  | 15.7 | 7.33 | 7.5 |  | 26.74 |  |  | 183.3 | 146.7 | 6.1 |  |  | 7.4 | [5 empty] | 0 |  |  |  | 0 | 140 | 0 |  |  | 0 | 0 | 36.6 | 7 |  | 24480 | 17380 |  | 0.054988 |  | 10.3423837928275 | 24550 | 17650 | 13074.71808 | 8094.288588 | 38.0920602763773 | 36.6 | 6.92 |  | 27250 | 19720 |  | 0.030032 |  | 18.9367008524241 | 23980 | 17250 | 3596.208 | 1127.9016 | 68.6363636363636
2/27/2024 | 15.3 | 7.69 | 790 | 682 | 1880 | 73676.5608 | 460 | 433 | 43.4 |  | 240 |  | 17.2 |  |  |  | 280 | 317 | 250 | 777 | 151 | 139 | 49.5 |  | 0.014771 |  |  | 0.007 | 0.007385 |  | 3250 | 2590 |  |  | 6.02 | 4500 | 3580 | 4500 | [9 empty] | 0.043056 | 0 |  | 15148.83438 |  |  |  |  | 15.8 | 7.26 | 6.8 |  | 23.96 |  |  | 166.5 | 142 | 6.66 | 0.46 |  | 2.65 | [5 empty] | 0 |  | 857 |  | 0 | 93 | 0 |  |  | 0 | 0 | [6 empty] | 0.050056 |  | 11.3614152149592 | [11 empty] | 0.0325 |  | 17.4986769230769
2/28/2024 | 15.5 | 7.49 | [22 empty] | 0.01431 | 6.9 | 6.2 | 0.007 | 0.007155 | 7399.4148 | 3250 | 2580 |  | 4270 | 4.9 | 4370 | 3530 | 4370 | 3.6 | 3.9 | 3.75 | 3 | [5 empty] | 0.043503 | 0 |  | 14606.8570614 | 38 | 36 | 81.3 | 70.7 | 15.6 | 7.16 | 6.9 |  | 18.8 | 203 |  | 136.7 | 120 | 4.03 | 0.49 |  | 2.3 | [5 empty] | 0 |  | 2633 |  | 0 | 3.6 | 0 |  |  | 0 | 0 | 36.7 | 7.24 |  | 23020 | 16420 |  | 0.050503 |  | 11.2608557907451 | 20320 | 14600 | 14504.0106 | 6149.447292 | 57.6017457405885 | 36.7 | 7.13 |  | 20100 | 14050 |  | 0.029521 |  | 19.2644896853088 | 20950 | 14980 | 3699.7074 | 893.897046 | 75.8387096774193
2/29/2024 | 15.4 | 7.41 | [12 empty] | 67 | 6.96 | [8 empty] | 0.0149 |  |  | 0.007 | 0.00745 |  | 3360 | 2650 |  |  | 0.98 | 5070 | 4000 | 5070 | [9 empty] | 0.039997 | 0 |  | 17019.0603648 |  |  |  |  | 15.5 | 7.17 | 8 |  | 15.66 |  |  | 105.8 | 88.7 | 4.7 | 0.41 |  | 2.82 | [5 empty] | 0 |  | 420 |  | 0 | 4 | 0 |  |  | 0 | 0 | [6 empty] | 0.046997 |  | 12.1009213354044 | [11 empty] | 0.025032 |  | 22.7191994247363
3/1/2024 | 15.6 | 7.81 | [22 empty] | 0.01432 | 7.1 | 6.4 | 0.007 | 0.00716 | 7643.4432 | [8 empty] | 4.2 | 4.2 | 4.2 | 3.4 | [5 empty] | 0.037561 | 0 |  |  | 21.7 | 18.3 |  |  | 15.6 | 7.19 | 7.4 |  | 4.29 |  |  | 25 | 19.5 | [9 empty] | 0 |  | 480 |  | 0 |  | 0 |  |  | 0 | 0 | 36.7 | 7.05 |  | 19620 | 13680 |  | 0.044561 |  | 12.7624380063284 | 24180 | 17220 | 14387.11716 | 6399.6191028 | 55.5184055872386 | 36.7 | 6.97 |  | 22520 | 16180 |  | 0.034344 |  | 16.5591369671558 | 22580 | 16300 | 3821.7216 | 973.34472 | 74.53125
3/2/2024 | 15.9 | 7.88 |  |  |  |  | 305 | 278 | [12 empty] | 152 | 134 |  |  | 0.014759 |  |  | 0.007 | 0.007379 | [18 empty] | 0.026316 | 0 | [6 empty] | 15.5 | 7.29 | 7.7 |  | 5.98 |  |  | 43.2 | 38.1 | [9 empty] | 0 |  | 600 |  | 0 |  | 0 |  |  | 0 | 0 | [6 empty] | 0.033316 |  | 17.0700864449514 | [11 empty] | 0.021188 |  | 26.8409949027752
3/3/2024 | 15.8 | 8.03 | [22 empty] | 0.01483 |  |  | 0.007 | 0.007415 | [18 empty] | 0.02285 | 0 | [6 empty] | 15.5 | 7.3 | 8 |  | 26.69 |  |  | 222 | 176 | [9 empty] | 0 |  | 470 |  | 0 |  | 0 |  |  | 0 | 0 | [6 empty] | 0.02985 |  | 19.0521608040201 | [11 empty] | 0.025308 |  | 22.4714319582741
3/4/2024 | 16.1 | 7.47 | [22 empty] | 0.016511 | 7.1 | 6.3 | 0.008 | 0.008255 | 8675.20962 | [9 empty] | 3.9 | 3.9 | 3.1 | [5 empty] | 0.022608 | 0 |  |  | 92 | 80 |  |  | 16 | 7.12 | 7.1 |  | 32.55 |  |  | 267.5 | 230 | 1.23 | 0.56 |  | 1.81 | [5 empty] | 0 |  |  |  | 0 |  | 0 |  |  | 0 | 0 | 36.7 | 6.98 |  | 22920 | 16050 |  | 0.030608 |  | 18.5803384736017 | 24250 | 17400 | 10048.43232 | 4441.710528 | 55.796980199992 | 36.7 | 7.07 |  | 25500 | 18450 |  | 0.018944 |  | 30.0204286317568 | 20820 | 14920 | 4337.3421 | 1027.192764 | 76.3174603174603
3/5/2024 | 16.3 | 7.4 | 375 | 349 |  |  | 332 | 305 | 40.9 |  |  |  | 15.6 |  |  |  | 293 | 259 |  |  | 126 | 112 | 39.2 |  | 0.0149 |  |  | 0.007 | 0.00745 |  | 3340 | 2710 |  |  | 0.56 | 4150 | 3350 | 4150 | [9 empty] | 0.020282 | 0 |  | 5498.857236 |  |  |  |  | 16.3 | 7.14 | 7.1 |  | 29.13 |  |  | 230 | 186.7 | 1.23 | 0.41 |  | 2.13 | [5 empty] | 0 |  | 3400 |  | 0 |  | 0 |  |  | 0 | 0 | [6 empty] | 0.027282 |  | 20.8455025291401 | [11 empty] | 0.018524 |  | 30.7010904772187
3/6/2024 | 15.8 | 7.62 | [12 empty] | 77 | 6.78 | [8 empty] | 0.01465 | 7.3 | 6.6 | 0.007 | 0.007325 | 8063.946 | 3300 | 2630 |  |  | 1.12 | 4700 | 3780 | 4700 | 1.1 | 3.8 | 2.45 | 2.1 | [5 empty] | 0.021102 | 0 |  | 8168.706408 | 16 | 15 | 49 | 42 | 16.1 | 7.04 | 6.9 |  | 23.01 |  |  | 170 | 140 | 1.68 | 0.31 |  | 2.66 | [7 empty] | 640 |  | 0 | 5.6 | 0 |  |  | 0 | 0 | 36.7 | 6.96 |  | 21500 | 15280 |  | 0.028102 |  | 20.2372429008611 | 20250 | 14480 | 7548.88428 | 3393.6874464 | 55.0438538925384 | 36.7 | 7.05 |  | 17720 | 12300 |  | 0.019572 |  | 29.0571735131821 | 20400 | 14650 | 4031.973 | 894.975825 | 77.8030303030303
3/7/2024 | 16 | 7.31 | [22 empty] | 0.01506 |  |  | 0.008 | 0.00753 |  | 3490 | 2740 |  |  | 0.56 | 5050 | 3980 | 5050 | [9 empty] | 0.021857 | 0 |  | 12114.744465 |  |  |  |  | 16.3 | 7.06 | 7 |  | 17.15 |  |  | 130 | 114 | 1.9 | 0.34 |  | 2.36 | [7 empty] | 72 |  | 0 | 3.8 | 0 |  |  | 0 | 0 | [6 empty] | 0.029857 |  | 19.0476940081053 | [11 empty] | 0.019 |  | 29.9319473684211
3/8/2024 | 15.3 | 7.69 | [22 empty] | 0.01584 | 6.5 | 5.9 | 0.008 | 0.00792 | 7794.2304 | [8 empty] | 2.2 | 4 | 3.1 | 2.8 | [5 empty] | 0.03033 | 0 |  |  | 785 | 645 |  |  | 15.8 | 7.34 | 7.7 |  | 19.48 |  |  | 148 | 122 | [9 empty] | 0 |  | 270 |  | 12 | 3.7 | 0 |  |  | 0 | 0 | 36.7 | 6.91 |  | 22450 | 15900 |  | 0.03833 |  | 14.8371249673885 | 14000 | 17200 | 11019.1416 | 5498.36184 | 50.1017226242015 | 36.7 | 7.08 |  | 27280 | 19300 |  | 0.021744 |  | 26.1546633554084 | 22920 | 16820 | 3897.1152 | 1111.008096 | 71.4915254237288
3/9/2024 | 15.7 | 7.83 |  |  |  |  | 322 | 288 | [12 empty] | 142 | 128 |  |  | 0.015349 |  |  | 0.008 | 0.007674 | [18 empty] | 0.034699 | 0 | [6 empty] | 14.8 | 7.26 | 8.3 |  | 23.75 |  |  | 190 | 156 | [9 empty] | 0 |  | 225 |  | 0 | 4.9 | 0 |  |  | 0 | 0 | [6 empty] | 0.042699 |  | 13.3189770252231 | [11 empty] | 0.028352 |  | 20.0587965575621
3/10/2024 | 15.4 | 8.05 | [22 empty] | 0.01489 |  |  | 0.007 | 0.007445 | [18 empty] | 0.037908 | 0 | [6 empty] | 15.5 | 7.32 | 7.9 |  | 24.6 |  |  | 202 | 158 | [9 empty] | 0 |  | 97 |  | 0 | 5.1 | 0 |  |  | 0 | 0 | [6 empty] | 0.044908 |  | 12.6638238175826 | [11 empty] | 0.02848 |  | 19.9686446629213
3/11/2024 | 15.7 | 7.91 | [22 empty] | 0.015531 | 6.5 | 5.6 | 0.008 | 0.007765 | 7253.59824 | [8 empty] | 3.6 | 3.4 | 3.5 | 2.8 | [5 empty] | 0.034186 | 0 |  |  | 140 | 116 |  |  | 16.1 | 7.31 | 7.4 |  | 12.76 |  |  | 83.3 | 72.9 | 5.65 | 0.34 |  | 2.74 | [5 empty] | 0 |  | 1380 |  | 0 | 5.9 | 0 |  |  | 0 | 0 | 36.7 | 7.14 |  | 29020 | 20400 |  | 0.042186 |  | 13.4809415445883 | 23200 | 16780 | 11719.43472 | 5903.7282072 | 49.6244627129934 | 36.6 | 7.03 |  | 20080 | 14350 |  | 0.0274 |  | 20.7557299270073 | 21900 | 15650 | 3626.5656 | 1013.495565 | 72.0535714285714
3/12/2024 | 15.5 | 7.68 |  | 398 | 1326 | 56687.61384 | 608 | 558 | 40.3 | 81.5 | 230 | 61.4 | 21 | 40.4 |  |  | 296 | 297 | 210 | 733 | 181 | 164 | 38.9 | 70.9 | 0.01455 |  |  | 0.007 | 0.007275 |  | 3370 | 2670 |  |  | 7.28 | 4570 | 3630 | 4570 | [9 empty] | 0.033133 | 0 |  | 14399.1649572 |  |  |  |  | 16.2 | 7.14 | 7.2 |  | 12.52 | 126 |  | 87.7 | 78.1 | 9.4 | 0.26 | 17.58 | 2.58 | 11.67 | 14.25 | 4.64774951076321 | 17.84 |  | 0 |  | 210 | 150 | 0 | 6.7 | 0 |  |  | 0 | 0 | [6 empty] | 0.040133 |  | 14.1705578949991 | [11 empty] | 0.022656 |  | 25.1018273305085
3/13/2024 | 15.7 | 7.42 | [12 empty] | 81 | 6.81 | [8 empty] | 0.01549 | 6.6 | 5.9 | 0.007 | 0.007275 | 7622.0094 | 3220 | 2570 |  | 4260 | 7.56 | 6180 | 4970 | 6180 | 3.9 | 4.2 | 4.05 | 3.2 | [5 empty] | 0.032074 | 0 |  | 19567.8227448 | 70 | 59 | 37 | 35 | 16.4 | 7.15 | 7.9 |  | 6.92 |  |  | 41 | 35.2 | 9.8 | 0.21 |  | 2.78 | [5 empty] | 0 |  | 175 |  | 0 | 7.8 | 0 |  |  | 0 | 0 | 36.7 | 6.8 |  | 28520 | 20180 |  | 0.039074 |  | 14.5546143215437 | 21980 | 15800 | 12004.32912 | 5148.859128 | 57.1083142045676 | 32.2 | 6.8 |  | 19950 | 14250 |  | 0.024816 |  | 22.9169487427466 | 22100 | 15920 | 3579.7365 | 965.92212 | 73.0169491525424
3/14/2024 | 15.9 | 7.6 | [22 empty] | 0.01411 |  |  | 0.007 | 0.007055 |  | 3550 | 2820 |  |  | 7.42 | 5350 | 4250 | 5350 | [9 empty] | 0.035491 | 0 |  | 16903.372722 |  |  |  |  | 16.3 | 7.28 | 7 |  | 7.41 |  |  | 43.5 | 37 | 8.96 | 0.23 | 16.24 | 2.86 |  |  |  | 16.47 |  | 0 |  | 205 |  | 0 | 13 | 0 |  |  | 0 | 0 | [6 empty] | 0.042491 |  | 13.384175472453 | [11 empty] | 0.02508 |  | 22.6757177033493
3/15/2024 | 15.3 | 7.75 | [22 empty] | 0.01563 | 7.6 | 6.8 | 0.008 | 0.007815 | 8864.0856 | [8 empty] | 4.5 | 5.2 | 4.85 | 3.8 | [5 empty] | 0.040902 | 0 |  |  | 12 | 10 |  |  | 16.1 | 7.145 | 7.4 |  | 8.8 |  |  | 58 | 48.8 | [9 empty] | 0 |  | 183 |  | 0 | 9.5 | 0 |  |  | 0 | 0 | 36.7 | 6.89 |  | 27850 | 20250 |  | 0.048902 |  | 11.6295243548321 | 22420 | 16050 | 17499.62184 | 6545.875014 | 62.5941916125429 | 36.7 | 7.2 |  | 23200 | 16900 |  | 0.02686 |  | 21.173008190618 | 21900 | 16000 | 4432.0428 | 1042.8336 | 76.4705882352941
3/16/2024 | 15.6 | 7.77 |  |  |  |  | 318 | 292 | [12 empty] | 165 | 148 |  |  | 0.01466 |  |  | 0.007 | 0.00733 | [18 empty] | 0.040435 | 0 | [6 empty] | 16 | 7.31 | 8 |  | 11.57 |  |  | 79.8 | 65.3 | [9 empty] | 0 |  | 117 |  | 0 | 3.5 | 0 |  |  | 0 | 0 | [6 empty] | 0.047435 |  | 11.9891852008011 | [11 empty] | 0.031148 |  | 18.2582188262489
3/17/2024 | 15.3 | 8.03 | [22 empty] | 0.01597 |  |  | 0.008 | 0.007985 | [18 empty] | 0.019155 | 0 | [6 empty] | 16 | 7.4 | 8.1 |  |  |  |  | 228.3 | 185 | [9 empty] | 0 |  | 75 |  | 0 | 6.7 | 0 |  |  | 0 | 0 | [6 empty] | 0.027155 |  | 20.9429939237709 | [11 empty] | 0.018576 |  | 30.6151485788114
3/18/2024 | 15.7 | 7.51 | [22 empty] | 0.01486 | 6.2 | 5.6 | 0.007 | 0.00743 | 6940.2144 | [8 empty] | 3.1 | 4.1 | 3.6 | 2.8 | [5 empty] | 0.03102 | 0 |  |  | 18 | 14 |  |  | 16.7 | 7.2 | 7.8 |  | 23.22 |  |  | 160 | 131.2 | 3.38 | 0.54 |  | 2.15 | [5 empty] | 0 |  | 343 |  | 0 | 4.4 | 0 |  |  | 0 | 0 | 36.7 | 7.07 |  | 27980 | 20250 |  | 0.03802 |  | 14.958100999474 | 25320 | 17850 | 10513.0704 | 5659.99938 | 46.1622612172368 | 36.7 | 6.96 |  | 22720 | 16150 |  | 0.025176 |  | 22.5892516682555 | 24100 | 17400 | 3470.1072 | 1078.21188 | 68.9285714285714
3/19/2024 | 15.7 | 7.4 | 387 | 378 |  |  | 326 | 308 | 48.3 | 76.7 |  | 25.6 | 14.2 | 11.4 |  |  | 502 | 312 |  |  | 158 | 138 | 44 | 71.1 | 0.01487 |  |  | 0.007 | 0.007435 |  | 3530 | 2830 |  |  | 2.58 | 5370 | 4270 | 5370 | [9 empty] | 0.03611 | 0 |  | 15917.992965 |  |  |  |  | 16.3 | 7.19 | 7.6 |  | 15.47 |  |  | 133.2 | 110 | 3.54 | 0.4 | 16.75 | 2 | 17.2 | 19.2 | 6.26223091976517 | 17.15 |  | 0 |  | 119 |  | 0 | 4.6 | 0 |  |  | 0 | 0 | [6 empty] | 0.04311 |  | 13.1919972164231 | [11 empty] | 0.025684 |  | 22.142462233297
3/20/2024 | 16 | 7.66 | [12 empty] | 75 | 6.84 | [8 empty] | 0.010089 | 6.8 | 6.1 | 0.005 | 0.005044 | 5132.67786 | 3390 | 2740 |  |  | 4.19 | 4730 | 3750 | 4730 | 4 | 3.4 | 3.7 | 2.9 | [5 empty] | 0.03687 | 0 |  | 13631.9961294 | 207.5 | 172.5 | 18 | 15.3 | 16.6 | 7.29 | 7.7 |  | 16.69 |  |  | 133.7 | 108.7 | 6.77 | 0.32 | 20.47 | 2.36 |  |  |  | 20.79 |  | 0 |  | 175 |  | 0 | 5 | 0 |  |  | 0 | 0 | 36.6 | 6.93 |  | 31600 | 23020 |  | 0.04187 |  | 13.5826844996417 | 25050 | 18120 | 11461.0782 | 6327.427896 | 44.7920362675826 | 36.6 | 6.94 |  | 29080 | 21180 |  | 0.029904 |  | 19.0177568218299 | 23280 | 16950 | 2566.08456 | 713.034972 | 72.2131147540984
3/21/2024 | 15.6 | 7.44 | [22 empty] | 0.01339 |  |  | 0.007 | 0.006695 |  | 3520 | 2790 |  |  | 3.54 | 4630 | 3680 | 4630 | [9 empty] | 0.036282 | 0 |  | 10735.326813 |  |  |  |  | 16.4 | 7.14 | 7.2 |  | 17.51 |  |  | 148.3 | 110 | 8.06 | 0.4 |  | 2.28 | [5 empty] | 0 |  | 267 |  | 0 | 8.3 | 0 |  |  | 0 | 0 | [6 empty] | 0.043282 |  | 13.1395730326695 | [11 empty] | 0.040464 |  | 14.0546411625148
3/22/2024 | 15.8 | 7.75 | [22 empty] | 0.015921 | 7.2 | 6.4 | 0.008 | 0.00796 | 8497.99296 | [8 empty] | 4.5 | 4.7 | 4.6 | 3.7 | [5 empty] | 0.033537 | 0 |  |  | 72 | 66 |  |  | 16.5 | 7.2 | 7.5 |  | 8.89 |  |  | 58.3 | 49.7 | [9 empty] | 0 |  | 213 |  | 0 | 8.6 | 0 |  |  | 0 | 0 | 36.7 | 7.3 |  | 29180 | 21180 |  | 0.041537 |  | 13.691576185088 | 24320 | 17620 | 14618.92746 | 6103.8953796 | 58.2466265305622 | 36.7 | 7.25 |  | 26050 | 18900 |  | 0.02984 |  | 19.0585455764075 | 23580 | 17300 | 4248.7296 | 1148.48472 | 72.96875
3/23/2024 | 16.7 | 7.66 |  |  |  |  | 410 | 382 | [12 empty] | 162 | 144 |  |  | 0.01616 |  |  | 0.008 | 0.00808 | [18 empty] | 0.029794 | 0 | [6 empty] | 16.5 | 7.3 | 7.9 |  | 4.03 |  |  | 24 | 20.5 | [9 empty] | 0 |  | 110 |  | 0 | 8.7 | 0 |  |  | 0 | 0 | [6 empty] | 0.037794 |  | 15.047547229719 | [11 empty] | 0.025508 |  | 22.2952407087972
3/24/2024 | 15.7 | 7.94 | [22 empty] | 0.01918 |  |  | 0.01 | 0.00959 | [18 empty] | 0.026975 | 0 | [6 empty] | 16.4 | 7.34 | 8.3 |  |  |  |  | 247.5 | 202.5 | [9 empty] | 0 |  | 106 |  | 0 | 10 | 0 |  |  | 0 | 0 | [6 empty] | 0.036975 |  | 15.3808519269777 | [11 empty] | 0.027576 |  | 20.6232593559617
3/25/2024 | 15.2 | 7.99 | [22 empty] | 0.02092 | 8 | 7.1 | 0.01 | 0.01046 | 12387.5688 | [8 empty] | 2.9 | 3.9 | 3.4 | 2.6 | [5 empty] | 0.025022 | 0 |  |  | 12 | 11.3 |  |  | 16.2 | 7.18 | 7.4 |  | 4.96 |  |  | 31.5 | 26.5 | 3.35 | 2.02 |  | 2.1 | [5 empty] | 0 |  | 203 |  | 0 | 3.6 | 0 |  |  | 0 | 0 | 36.6 | 7.02 |  | 30250 | 22020 |  | 0.035022 |  | 16.2385643309919 | 24180 | 17480 | 11347.17048 | 5105.6192304 | 55.0053536306789 | 36.6 | 7.17 |  | 18180 | 12480 |  | 0.02284 |  | 24.8996059544658 | 24000 | 17520 | 6193.7844 | 1528.381728 | 75.3239436619718
3/26/2024 | 15.5 | 7.6 | 364 | 380 |  |  | 370 | 337 | 50 | 73.2 |  | 25.6 | 14.6 | 11 |  |  | 315 | 334 |  |  | 186 | 165 | 44.2 | 69.6 | 0.01497 |  |  | 0.007 | 0.007485 |  | 3590 | 2830 |  |  | 0.8 | 6050 | 4800 | 6050 | [9 empty] | 0.027009 | 0 |  | 11987.119947 |  |  |  |  | 16.1 | 7.22 | 7.1 |  | 14.48 |  |  | 133.3 | 108.3 | 2.71 | 1.74 | 14.83 | 1.66 | 17.04 | 18.7 | 6.09915198956295 | 16.57 |  | 0 |  | 7300 |  | 0 | 3 | 0 |  |  | 0 | 0 | [6 empty] | 0.034009 |  | 16.722249992649 | [11 empty] | 0.024608 |  | 23.1106550715215
3/27/2024 | 16 | 7.53 | [12 empty] | 54 | 6.89 | [9 empty] | 8.2 | 7.4 |  |  |  | 3410 | 2690 |  |  | 2.09 | 9420 | 7350 | 9420 | 4.1 | 3.9 | 4 | 3.2 | [5 empty] | 0.031092 | 0 |  | 18518.1947136 | 10 | 10 | 13.5 | 13 | 16.4 | 7.16 | 8.2 |  | 6.48 |  |  | 43 | 36.3 | 2.54 | 1.12 |  | 1.31 | [5 empty] | 0 |  | 66 |  | 0 | 4.1 | 0 |  |  | 0 | 0 | 36.6 | 7.19 |  | 23320 | 16820 |  |  |  |  | 24050 | 17200 | 8297.83296 |  |  | 36.6 | 7.12 |  | 23480 | 17000 |  | 0.016536 |  | 34.392053701016 | 19580 | 13750 | 0
3/28/2024 | 16.2 | 8.05 | [22 empty] | 0.01269 |  |  | 0.006 | 0.006345 |  | 3270 | 2600 |  |  | 2.26 | 5100 | 4120 | 5100 | [9 empty] | 0.026806 | 0 |  | 9710.554734 |  |  |  |  | 16.5 | 7.25 | 8 |  | 3.37 |  |  | 15 | 11.7 | 4.83 | 0.82 |  | 1.57 | [5 empty] | 0 |  | 84 |  | 0 | 4.7 | 0 |  |  | 0 | 0 | [6 empty] | 0.032806 |  | 17.3354569286106 | [11 empty] | 0.01372 |  | 41.4509475218659
3/29/2024 | 16.1 | 7.93 | [22 empty] | 0.02119 | 7 | 6.2 | 0.010595 | 0.010595 | 10956.9252 | [8 empty] | 4.6 | 4.2 | 4.4 | 3.4 | [5 empty] | 0.026331 | 0 |  |  | 50 | 42 |  |  | 16.2 | 7.44 | 8.5 |  | 3.29 |  |  | 11.8 | 9.5 | [9 empty] | 0 | [8 empty] | 0 | 0 | 36.7 | 6.88 |  | 27380 | 19800 |  | 0.036926 |  | 15.4012619834263 | 25420 | 18420 | 12944.88096 | 5672.6755128 | 56.1782334628746 | 36.7 | 6.86 |  | 23120 | 16550 |  | 0.030412 |  | 18.7000854925687 | 23700 | 16880 | 5478.4626 | 1491.555624 | 72.7741935483871
3/30/2024 | 16.9 | 7.39 |  |  |  |  | 328 | 304 | [12 empty] | 166 | 152 |  |  | 0.028089 |  |  | 0.014 | 0.014044 | [18 empty] | 0.022715 | 0 | [6 empty] | 16.8 | 7.25 | 8.2 |  | 7.59 |  |  | 54 | 43.3 | [9 empty] | 0 |  | 1400 | [6 empty] | 0 | 0 | [6 empty] | 0.036715 |  | 15.489772572518 | [11 empty] | 0.033416 |  | 17.0190028728753
3/31/2024 | 16.5 | 7.88 | [22 empty] | 0.02483 | [22 empty] | 0.02483 | 0 | [6 empty] | 16.6 | 7.37 | 8.1 |  | 3.44 |  |  | 11.7 | 11.2 | [9 empty] | 0 |  | 140 | [6 empty] | 0 | 0 | [20 empty] | 0.026772 |  | 21.2426042133572
4/1/2024 | 15.5 | 7.71 | [23 empty] | 7.9 | 7 | [11 empty] | 4.8 | 3.8 | 4.3 | 3.4 | [5 empty] | 0.024226 | 0 |  |  | 10 | 10 |  |  | 16.3 | 7.25 | 8 |  | 6.86 |  |  | 39.5 | 35.5 | 7.02 | 0.53 |  | 1.81 | [5 empty] | 0 | [8 empty] | 0 | 0 | 36.6 | 6.94 |  | 34200 | 25300 |  |  |  | 23.2828543355441 | 25120 | 18450 | 6869.52456 |  |  | 36.7 | 7.25 |  | 11650 | 7550 |  | 0.02564 |  | 22.1804602184087 | 24250 | 17800 | 0
4/2/2024 | 16.2 | 7.52 | 377 | 379 |  |  | 330 | 304 | 51.9 | 81.5 |  | 26.2 | 14.8 | 11.4 |  |  | 306 | 315 |  |  | 142 | 128 | 44.5 | 72.2 | 0.01179 |  |  | 0.006 | 0.005895 |  | 3320 | 2660 |  |  | 3.87 | 6030 | 4830 | 6030 | [9 empty] | 0.029104 | 0 |  | 11878.8469812 |  |  |  |  | 16.8 | 7.33 | 8 |  | 3.96 |  |  | 15.3 | 14 | 7.42 | 0.26 | 10.96 | 2.13 | 2.22 | 4.35 | 1.4187866927593 | 11.22 |  | 0 |  | 2700 | [6 empty] | 0 | 0 | [6 empty] | 0.035104 |  | 26.8030445847865 | [11 empty] | 0.020356 |  | 27.9380526626056
4/3/2024 | 16.5 | 7.43 | [12 empty] | 71 | 6.81 | [8 empty] | 0.01823 | 5.8 | 5.2 | 0.009 | 0.009115 | 7905.9864 | 3270 | 2570 |  |  | 1.29 | 5250 | 4320 | 5250 | 5.1 | 4.3 | 4.7 | 4.2 | [5 empty] | 0.027014 | 0 |  | 9849.654675 | 12 | 10 | 7.6 | 6.4 | 17.5 | 7.17 | 8.2 |  | 2.68 |  |  | 7.1 | 6.2 | 4.83 | 0.24 |  | 2.45 | [5 empty] | 0 |  | 265 | [6 empty] | 0 | 0 | 36.7 | 6.77 |  | 26900 | 19700 |  | 0.036014 |  | 24.0855073691343 | 26250 | 19050 | 13365.58392 | 5721.796278 | 57.1900763015822 | 36.7 | 6.78 |  | 26880 | 19680 |  | 0.025276 |  | 22.4998813103339 | 24120 | 17400 | 3952.9932 | 1322.73234 | 66.5384615384615
4/4/2024 | 17.3 | 7.61 | [22 empty] | 0.015849 |  |  | 0.008 | 0.007924 |  | 3420 | 2700 |  |  | 0.97 | 5800 | 4600 | 5800 | [9 empty] | 0.029415 | 0 |  | 11752.509492 |  |  |  |  | 17.1 | 7.21 | 7.3 |  | 10.29 |  |  | 65.6 | 52.8 | 6.44 | 0.27 |  | 1.98 | [5 empty] | 0 |  | 2400 | [6 empty] | 0 | 0 | [6 empty] | 0.037415 |  | 22.40768321513 | [11 empty] | 0.022468 |  | 25.311865764643
4/5/2024 | 17.1 | 7.79 | [22 empty] | 0.01648 | 5.7 | 5.2 | 0.008 | 0.00824 | 7147.0464 | [8 empty] | 3.7 | 4 | 3.85 | 3 | [5 empty] | 0.02529 | 0 |  |  | 19 | 18 |  |  | 16.9 | 7.34 | 7.9 |  |  |  |  | 13.7 | 12.2 | [9 empty] | 0 |  | 980 | [6 empty] | 0 | 0 | 36.7 | 6.98 |  | 27980 | 20580 |  | 0.03329 |  | 25.5713579136691 | 24650 | 17800 | 9796.998 | 4941.96708 | 49.5563122499361 | 36.7 | 7.09 |  | 22320 | 16100 |  | 0.021944 |  | 25.91628691214 | 23150 | 16620 | 3573.5232 | 1142.152992 | 68.0384615384615
4/6/2024 | 15.6 | 7.61 |  |  |  |  | 308 | 286 | [12 empty] | 151 | 136 |  |  | 0.01677 |  |  | 0.008 | 0.008385 | [18 empty] | 0.033147 | 0 | [6 empty] | 16.3 | 7.32 | 7.8 |  |  |  |  | 66.3 | 54.4 | [9 empty] | 0 |  | 6200 | [6 empty] | 0 | 0 | [6 empty] | 0.041147 |  | 27.0580930630888 | [11 empty] | 0.026576 |  | 21.3992700180614
4/7/2024 | 15.6 | 7.97 | [22 empty] | 0.017823 |  |  | 0.009 | 0.008911 | [18 empty] | 0.022 | 0 | [6 empty] | 15.9 | 7.41 | 7.9 |  |  |  |  | 42 | 34.5 | [9 empty] | 0 |  | 2066 | [6 empty] | 0 | 0 | [6 empty] | 0.031 |  | 24.6706142634045 | [11 empty] | 0.02488 |  | 22.857998392283
4/8/2024 | 16.3 | 7.98 | [22 empty] | 0.016097 | 8.2 | 7.2 | 0.008 | 0.008 | 9665.92656 | [8 empty] | 3.9 | 3.8 | 3.85 | 3 | [5 empty] | 0.023575 | 0 |  |  | 14.7 | 14 |  |  | 16.5 | 7.24 | 7.7 |  |  |  |  | 13.9 | 11.2 | 4.35 |  |  | 2.47 | [5 empty] | 0 |  | 1850 | [6 empty] | 0 | 0 | 36.6 | 7.28 |  | 28450 | 20700 |  | 0.031575 |  | 26.3217161899472 | 24700 | 17950 | 10702.305 | 4726.872225 | 55.833138515488 | 33.3 | 7.39 |  | 14620 | 9730 |  | 0.021604 |  | 26.3241529346417 | 25080 | 18180 | 4803.84 | 1212.9696 | 74.75
4/9/2024 | 17.3 | 7.45 |  |  | 1405 | 55202.0847 | 655 | 573 | 50 | 97.7 | 220 | 37.6 | 19.6 | 18 |  |  |  |  | 210 | 823 | 181 | 165 |  |  | 0.01606 |  |  | 0.008 | 0.008 |  | 4410 | 3480 |  |  |  | 5380 | 4230 | 5380 | [9 empty] | 0.025222 | 0 |  | 10522.4555688 |  |  |  |  | 16.7 | 7.29 | 7.9 |  |  | 103 |  | 68.2 | 54.4 | 5.28 | 0.34 | 12.24 | 1.92 | 8.93 | 10.85 | 3.53881278538813 | 12.58 |  | 0 |  | 1650 | 140 | [5 empty] | 0 | 0 | [6 empty] | 0.033222 |  | 26.8968501702611 | [11 empty] | 0.023332 |  | 24.3745499742842
4/10/2024 | 16.7 | 7.61 | [28 empty] | 3430 | 2690 |  | 4220 | 3.54 | 5800 | 4580 | 5800 | [15 empty] | 22 | 15 | 17 | 7.31 | 8 | [15 empty] | 0 | [10 empty] | 36.7 | 6.82 |  | 25300 | 18320 |  |  |  |  | 23980 | 17420 |  |  |  | 31.1 | 6.87 |  | 27220 | 19780 |  |  |  |  | 23080 | 16750
4/11/2024
Sum | 1,089.3 | 539.04 | 3,525 | 3,750 | 6,602 | 263,176.5 | 7,298 | 6,679 | 448.2 | 608.1 | 1,190 | 251.2 | 160.8 | 123.2 | 618 | 61.87 | 2,845 | 2,673 | 1,160 | 3,766 | 3,206 | 2,879 | 383.5 | 475.5 | 1.08602 | 198.0 | 177.1 | 0.51691 | 0.52141 | 218,870 | 102,170 | 80,980 |  | 21,260 | 114.31 | 156,860 | 124,600 | 156,860 | 106.6 | 117.6 | 114.1 | 90.6 | [5 empty] | 2.14271 | 0.00000 |  | 369,553.3 | 4,156.5 | 3,494.0 | 284.7 | 244.1 | 1,101.8 | 509.44 | 544.5 |  | 660.33 | 579 |  | 5,217.1 | 4,317.2 | 205.38 | 17.41 | 136.08 | 81.87 | 71.64 | 85.53 | 27.90 | 140.82 | 65.0 | 0 |  | 45,507 | 560 | 24.00 | 464.3 | 0.0000 |  |  | 0 | 0 | 1,099.9 | 211.11 |  | 760,150 | 545,870 |  | 2.57147 |  | 1,028 | 713,940 | 521,290 | 344,601.5 | 152,669.7 | 1,375.1 | 1,086.5 | 211.91 |  | 680,750 | 484,440 |  | 1.80985 |  | 1,550 | 697,780 | 502,460 | 109,081.7 | 30,509.1 | 1,940.3
Avg | 15.6 | 7.70 | 441 | 417 | 1,320 | 52,635.3 | 365 | 334 | 44.8 | 76.0 | 238 | 31.4 | 16.1 | 15.4 | 69 | 6.87 | 316 | 297 | 232 | 753 | 160 | 144 | 42.6 | 67.9 | 0.01621 | 6.8 | 6.1 | 0.00795 | 0.00802 | 8,106 | 3,406 | 2,699 |  | 4,252 | 3.94 | 5,229 | 4,153 | 5,229 | 3.8 | 4.1 | 3.9 | 3.1 | [5 empty] | 0.03198 | 0.00000 |  | 13,687.2 | 143.3 | 120.5 | 28.5 | 24.4 | 15.7 | 7.28 | 7.8 |  | 10.65 | 116 |  | 75.6 | 62.6 | 5.27 | 0.47 | 13.61 | 2.10 | 8.96 | 10.69 | 3.49 | 14.08 | 65.0 | 0 |  | 240 | 140 | 0.42 | 8.9 | 0.0000 |  |  | 0 | 0 | 36.7 | 7.04 |  | 25,338 | 18,196 |  | 0.04018 |  | 16 | 23,798 | 17,376 | 11,882.8 | 5,871.9 | 52.9 | 36.2 | 7.06 |  | 22,692 | 16,148 |  | 0.02623 |  | 22 | 23,259 | 16,749 | 3,761.4 | 1,130.0 | 71.9
Max | 17.3 | 8.05 | 790 | 682 | 1,880 | 73,676.6 | 655 | 573 | 51.9 | 97.7 | 250 | 61.4 | 21.0 | 40.4 | 81 | 7.03 | 502 | 334 | 250 | 823 | 220 | 195 | 49.5 | 72.2 | 0.02809 | 8.2 | 7.4 | 0.01400 | 0.01404 | 12,388 | 4,410 | 3,480 |  | 4,560 | 14.42 | 9,420 | 7,350 | 9,420 | 5.1 | 5.2 | 4.9 | 4.2 | [5 empty] | 0.04699 | 0.00000 |  | 19,567.8 | 1,130.0 | 950.0 | 81.3 | 70.7 | 17.5 | 7.54 | 8.5 |  | 38.60 | 203 |  | 272.0 | 230.0 | 16.93 | 2.02 | 20.47 | 7.40 | 17.20 | 19.20 | 6.26 | 20.79 | 65.0 | 0 |  | 7,300 | 150 | 12.00 | 140.0 | 0.0000 |  |  | 0 | 0 | 36.7 | 7.31 |  | 34,200 | 25,300 |  | 0.05499 |  | 27 | 26,320 | 19,050 | 17,499.6 | 8,094.3 | 62.6 | 36.7 | 7.39 |  | 29,080 | 21,180 |  | 0.04046 |  | 41 | 26,480 | 19,200 | 6,193.8 | 1,528.4 | 77.8
Min | 13.6 | 7.31 | 364 | 349 | 980 | 38,242.4 | 284 | 264 | 39.7 | 61.5 | 220 | 22.4 | 14.2 | 7.2 | 53 | 6.78 | 263 | 259 | 210 | 701 | 126 | 112 | 38.9 | 60.5 | 0.01009 | 5.7 | 5.2 | 0.00500 | 0.00504 | 5,133 | 3,030 | 2,400 |  | 3,950 | 0.28 | 4,000 | 3,170 | 4,000 | 1.1 | 3.1 | 2.5 | 2.1 | [5 empty] | 0.01916 | 0.00000 |  | 5,498.9 | 10.0 | 10.0 | 6.3 | 5.7 | 14.1 | 7.04 | 6.8 |  | 2.25 | 36 |  | 4.6 | 4.2 | 0.95 | 0.20 | 4.79 | 0.79 | 1.49 | 2.28 | 0.74 | 5.12 | 65.0 | 0 |  | 7 | 120 | 0.00 | 2.3 | 0.0000 |  |  | 0 | 0 | 36.6 | 6.77 |  | 18,720 | 13,000 |  | 0.02716 |  | 10 | 14,000 | 14,480 | 3,736.3 | 3,393.7 | 38.1 | 31.1 | 6.78 |  | 11,650 | 7,550 |  | 0.01372 |  | 14 | 19,580 | 13,750 | 0.0 | 713.0 | 64.4